ISOTOP DSD-BL

TENDERSPECIFICATION

Manufacturer information

Getzner Werkstoffe GmbH

Herrenau 5

A-6706 Bürs

Austria

www.getzner.com

Brand

Isotop® DSD-BL - Steel spring block element with Sylodamp® damping core

Product properties

| # Application | # For isolating structure-borne noise and vibrations |
| --- | --- |
| # Efficiency of isolation | >98% (referred to 50 Hz excitation frequency or 3000 rpm) |
| # Consisting of | - Isotop® DSD - steel spring isolators with Sylodamp® damping core, CDC-coated - Damping core on polyurethane basis, free of plasticisers and substances hazardous to health (e.g. VOC) - 6 mm steel top plate and base plate, black powder-coated - Top plate and base plate with 4 mm Sylomer® anti-slip plate - Can be combined with Isotop® DT |
| # Natural frequency | # from 4,3 Hz = 258 rpm |
| # Maximum load bearing | # from 400 kg to 5850 kg |
| # For the bearing of |  |
| # Total weight | kg |
| # Excitation frequency | Hz or rpm |

The detailed type selection for the elements is based on the weight distribution of the respective devices.

Offered product

ISOTOP DSD-BL from Getzner Werkstoffe GmbH or equal.

| # Quantity | pcs. |
| --- | --- |
| # Sum | € |