ISOTOP DT

TENDERSPECIFICATION

Manufacturer information

Getzner Werkstoffe GmbH

Herrenau 5

A-6706 Bürs

Austria

www.getzner.com

Brand

Isotop DT® - Spacer base with high chemical resistance

Product properties

| # Application | Spacer base for containment trays |
| --- | --- |
| Consisting of | - Body made of polyethylene for high chemical resistance - Anti-slip plate made of Syldoyn® material - Can be combined with Isotop® SD-BL or Isotop® DSD-BL - Including screws for connecting the spring block elements |
| # For the bearing of |  |
| # Total weight | kg |
| # Excitation frequency | Hz or rpm |

The detailed type selection for the elements is based on the weight distribution of the respective devices.

Offered product

ISOTOP DT from Getzner Werkstoffe GmbH or equal.

| # Quantity | pcs. |
| --- | --- |
| # Sum | € |