ISOTOP DZE 3D

TENDERSPECIFICATION

Manufacturer information

Getzner Werkstoffe GmbH

Herrenau 5

A-6706 Bürs

Austria

www.getzner.com

Brand

Isotop® DZE - Druck-Zug-Element

Product properties

| # Application | # For isolating structure-borne noise and vibrations |
| --- | --- |
| # Efficiency of isolation | >95% (referred to 50 Hz excitation frequency or 3000 rpm) |
| # Consisting of | - High-performance damper made of Sylodyn®/Sylomer® and Sylodamp® - Damper on polyurethane basis, free of plasticisers and substances hazardous to health (e.g. VOC) - Stainless steel housing and stainless steel ellipse, pre-assembled - Resistant to compression, tension and shear - Effective in all spatial directions |
| # Natural frequency | # from 11 Hz = 660 rpm |
| # Maximum load bearing | # from 200 kg to 1200 kg |
| # For the bearing of |  |
| # Total weight | kg |
| # Excitation frequency | Hz or rpm |

The detailed type selection for the elements is based on the weight distribution of the respective devices.

Offered product

ISOTOP DZE 3D from Getzner Werkstoffe GmbH or equal.

| # Quantity | pcs. |
| --- | --- |
| # Sum | € |