ISOTOP MSN-DAMP

TENDERSPECIFICATION

Manufacturer information

Getzner Werkstoffe GmbH

Herrenau 5

A-6706 Bürs

Austria

www.getzner.com

Brand

Isotop® MSN-DAMP - vibration damper

Product properties

| # Application | # For isolating structure-borne noise and vibrations |
| --- | --- |
| # Efficiency of isolation | >96% (referred to 50 Hz excitation frequency or 3000 rpm) |
| # Consisting of | - Easy screw-fixing with M8 thread - 37,5 mm damping core on polyurethane basis, free of plasticisers and substances hazardous to health (e.g. VOC) - Secure adhesive connection between the plate and the damper - Three different attachment options (T/T, B/B, B/T) - Zinc-nickel coating |
| # Natural frequency | # from 7,4 Hz = 444 rpm |
| # Maximum load bearing | # from 6 kg to 35 kg |
| # For the bearing of |  |
| # Total weight | kg |
| # Excitation frequency | Hz or rpm |

The detailed type selection for the elements is based on the weight distribution of the respective devices.

Offered product

ISOTOP MSN-DAMP from Getzner Werkstoffe GmbH or equal.

| # Quantity | pcs. |
| --- | --- |
| # Sum | € |